SAM-FP[1] is a new observation mode available at the 4-meter SOAR Telescope, localized at Cerro Pachón, near the Elqui Valley, Chile. It consists in a Fabry-Perot (FP) interferometer installed in the collimated space of the SOAR Adaptive Module (SAM). SAM uses Ground Layer Adaptive Optics (GLAO) to enhance image quality in the visible part of the spectrum[2, 3].
SAM has a dedicated imaging system called SAM Imager (SAMI) that covers a field of 3 x 3 arcmin with a e2v CCD with 4096 x 4112 pixels and a plate scale of 45.5 mas per pixel. SAM-FP delivers data-cubes via scanning mode. Table 1 displays information about the FP we have available and the main characteristics of the data.
Figure 4 shows the 2D maps extracted from an 30 Dor[5].
The information for each wavelength in a data cube obtained with Fabry-Perot follows parabolic surfaces inside the cube (Figure 1). Proper manipulation is needed to recover the (x, y, λ) information. SAM-FP tools is a set of scripts focused on these manipulations. The standard processing is described below.
Field distortion;
Astrometric solution;
Implement advanced techniques to increase SNR;
Merge with TUNA.
Acknowledgments
This research made use of Astropy, a community-developed core Python package for Astronomy.
It is also part of a work developed at the Southern Astrophysical Research (SOAR) telescope, which is a joint project of the Ministério da Ciência, Tecnologia, Inovação e Comunicações (MCTIC) do Brasil, the U.S. National Optical Astronomy Observatory (NOAO), the University of North Carolina at Chapel Hill (UNC), and Michigan State University (MSU).
This work is part of the Post-Doc Fellowship of Bruno Quint and it is supported by CPNQ (process 205459/2014-5).
References
Mendes de Oliveira, C., Amram, P., Quint, B. C., Torres-Flores, S., Barbá, R., & Andrade, D. (2017). MNRAS, 469(3), 3424–3443.
Fraga, L., Kunder, A., & Tokovinin, A. (2013). The Astronomical Journal, 145(6), 165.
Tokovinin, A., Cantarutti, R., Tighe, R., Schurter, P., Martinez, M., Thomas, S., & Bliek, N. van der. (2016). PASP, 128(970), 125003.
The Astropy Collaboration. (2013). Astronomy & Astrophysics, Volume 558, id.A33, 9 Pp., 558.
Tody, D. (1993). IRAF in the Nineties. ADASS II, 52, 173.
Van Dokkum, P. G. (2001). PASP, 113, 1420–1427.
Quint, B. C., Taylor, K., Ferrari, F., de Oliveira, C. M., & Muramatsu, M. (2010). ADASS XIX, 434, 382.
https://b1quint.github.io/samfp-tools/
IRAF is distributed by the National Optical Astronomy Observatories, which are operated by the Association of Universities for Research in Astronomy, Inc., under cooperative agreement with the National Science Foundation.
https://b1quint.github.io/illusion/
Data-Reduction Tools for Fabry-Perot observations at the SOAR Telescope.
Simón Torres-Robledo,[1] Cesar Briceño[1,2] Bruno Quint[1].
Affiliations
[1] SOAR Telescope, La Serena, Coquimbo, Chile.
[2]Cerro Tololo Interamerican Observatory, Casilla 603, La Serena 1700000, Chile.
Contact Information
Simón Torres Robledo
storres@ctio.noao.edu
https://simontorres.github.io/
  The SOAR Telescope now counts with a new observation mode called SAM-FP. It consists of a Fabry-Perot (FP) interferometer installed within the SOAR Adaptive Module (SAM) and it allows us to perform 3D spectroscopy over a field of 3 x 3 arcmin and with a resolving power of 11500 near Hα. We present here the status of our efforts in developing these tools to reduce FP data that is currently being done using Python and the standard libraries for Astronomy. The available tools can be used to perform the basic image reductions, build data-cubes, extract phase-maps, fit them and apply them to the science cubes. Finally, they perform wavelength calibrations and extract the main 2D maps from these cubes. We will focus on performance of the existing tools applied to simulated and real data.
ABSTRACT
1. Introduction
4. Conclusions and future work
	Nominal Gap Size	Free Spectral Range (FSR)	Spectral Resolution
High Resolution FP	200 μm	10.8 Å (492 km.s-1 @ Hα)	≈ 11 200
Low Resolution FP	44 μm	48.98 Å (2237 km.s-1 @ Hα)	≈ 4 200
Table 1 – Fabry-Perot Nominal and Measured Parameters
2. SAM-FP Tools
Figure 2 – SAM-FP Tools standard data reduction flux.
Raw Images
Multi-Extension
FITS Files
xjoin
mkcube
phmxtractor
phmfit
phmapply
x2dmaps
Processed
Images
Science
or
Calibration?
Calibration
Cube
Phase Map
Fitted
Phase Map
Science
Cube
Phase Corrected
Science Cube
Observation
Monochromatic,
Velocity,
Dispersion Maps
Figure 2 displays the standard data reduction flux for SAM-FP data using the SAM-FP Tools[a] written in Python using AstroPy[4] and standard libraries. The xjoin script is designed to easily perform standard data reduction that is usually done using IRAF[b, 5]. It merges the extensions of the FITS files, does bias subtraction, applies flat correction and clean cosmic-rays using LaCosmic[6].
The phase corrections process is divided into three steps and is processed using three scripts:
phmxtractor – Finds (FSR), the center of the rings and extracts the relative displacement between the spectral inside a FITS image, the phase-map.
phmfit – Unwraps the phase-map and fits the phase-map to a parabola.
phmapply – Applies the phase-map in the science cube and find the wavelength calibration using the science target's emission wavelength, systematic velocity and the FP nominal gap size.
Figure 1 – Artistic concept of the wavelength distribution within a data-cube obtained with FP observation.
The phase-correction process was tested by plotting the spectral along the central column of the data-cube before (Fig 3a) and after phase-correction (Fig 3b). The central reference spectrum is also compared to the averaged spectra in the phase-corrected cube, (Figure 3). These plots were produced using simulated data-cubes using Illusion[c, 9].
Figure 3a – Before phase-correction.
Figure 3b – After phase-correction.
Figure 3 – Phase-correction tests using simulated data. The green lines represent the spectra over the central column and the orange line (Figure b) shows the averaged spectra in the cube. An offset was added to the averaged curve to make the visualization easier.